[image: image1.png]BORSEL CONSTRUCTION LTD

Head office is located at: New Kasana Market Lock — Up No. 7

Specialist in: Shallow wells, Boreholes Drilling, Rain Casements, Tanks, P.O BOX 25,
Training VIP Latrines, Spring Protection, Slab making, LUWEERO
Training Auguring Building, Construction and Rehabilitation of UGANDA
= Borelmles_ & = = —

Date: Marc 14", 2011

BILLS OF QUANTITIES FOR CONSTRUCTION OF ONE DUG WELL AT KIGAVU

NO. | DESCRIPTION UNIT Qry RATE AMOUNT
(U.SHS)
1. Overheads (feeding, rent, security) Lump sum 1,700,000/=
2. Well Excavation 450,000/=
3. Setting and dismantling Lump sum 200,000/=
4. | Shifting Km 21 25,000= 525,000/=
5. Digging open hole (1.5m dia) 2,100,000/=
6. | Supply and installation of burnt clay bricks 2,250,000/=
i Installation of hard core M 2 75,000= 150,000/=
8. Concrete stones 2 100,000= 200,000/=
9. | Construction of splash apron covers slab/ drainage. 310,000/=
10. | Dewatering / Test pumping well recovery monitoring. 400,000/=
11. | Clearing site 280,000/=
12. | Sand 2 80,000/=
13. | Cement 20 470,000/=
14. | Water proof cement 180,000/=
15. | Pump cylinder 200,000/=
16. | Pedestal 180,000/=
17. | Water tank and pump head complete 400,000/=
18. | Raising mains 11 pipes 50,000= 550,000/=
19. | Raising rods 10 rods 28,000= 280,000/=
20. | Engraving on pump head 150,000/=
21. | Labour 1,975,000/=
Total | 13,030,000/=





ESTIMATES

FOR

ONE HAND DUG WELL

TO BE CONSTRUCTED

AT KABUBU R/C PRIMARY SCHOOL
[image: image2.emf]

Prepared by:

Mwanje  John

Managing Director

Borsel Construction Ltd.

February 20, 2018

                             Head office is located at: New Kasana Market Lock – Up No. 7

Specialist in: 
  Shallow wells, Boreholes Drilling, Rain Casements, Tanks,

P.O BOX 25,
 Training VIP Latrines, Spring Protection, Slab making, 

LUWEERO

 

Training Auguring Building, Construction and Rehabilitation of 
UGANDA

Boreholes 






                                                                                                                                    Date: February 20, 2018
To, 

Fr. Joseph Kakooza Nnyanzi,

Parish Priest,

Kasana Cathedral  Parish.

Dear Father Joseph,
RE: 
APPLICATION FOR THE CONSTRUCTION OF THE WELL AT KABUBU R/C PRIMARY SCHOOL.
We, the Borsel Construction Ltd deal in the mining sector, which also includes the mining of water. We specialize among other things in borehole drilling, sitting, test pumping, equipping (motorization of hand pump) and borehole rehabilitation. We also handle shallow well sitting, construction and supervision.
In reference to your conversation with me regarding the above reference, we hereby apply for the job of constructing the well.

The total cost for digging the well will be Ug. Shs. 18,450,000/= [Eighteen millions four hundred and fifty thousand only).This is about U.S.A $ 5,110 [five thousand one hundred and ten dollars only].
Enclosed is the list of bills of quantities for the construction of the well.


Yours truly,

Mwanje John

Managing Director

Borsel Construction Ltd


                             Head office is located at: New Kasana Market Lock – Up No. 7

Specialist in: 
  Shallow wells, Boreholes Drilling, Rain Casements, Tanks,

P.O BOX 25,
 Training VIP Latrines, Spring Protection, Slab making, 

LUWEERO

 

Training Auguring Building, Construction and Rehabilitation of 
UGANDA

Boreholes 






                                                                                                                                    Date: February 20, 2018
BILLS OF QUANTITIES FOR CONSTRUCTION OF ONE DUG WELL AT KABUBU R/C PRIMARY SCHOOL
	NO.
	DESCRIPTION
	UNIT
	QTY
	RATE 

(U.SHS)
	AMOUNT

	1.
	Overheads (feeding, rent, security, transport)
	Lump sum
	
	
	2,880,000=

	2.
	Well Excavation
	
	
	
	2,100,000/=

	3.
	Setting and dismantling 
	Lump sum
	
	
	600,000/=

	4.
	Shifting 
	Km 
	21
	25,000=
	525,000/=

	5.
	Digging open hole (1.5m )
	
	
	
	1,900,000/=

	6.
	Supply and installation of burnt clay bricks 
	
	
	
	2,000,000/=

	7.
	Installation of hard core
	M 
	2
	200,000=
	400,000/=

	8.
	Concrete stones 
	
	2
	250,000=
	500,000/=

	9.
	Construction of splash apron covers slab/ drainage.
	
	
	
	810,000/=

	10.
	Dewatering / Test pumping well recovery monitoring.
	
	
	
	500,000/=

	11.
	Clearing site
	
	
	
	750,000/=

	12.
	Sand 
	
	2
	
	300,000/=

	13.
	Cement 
	
	20
	
	640,000/=

	14.
	Water proof cement 
	
	
	
	480,000/=

	15.
	Pump cylinder
	
	
	
	300,000/=

	16.
	Pedestal 
	
	
	
	280,000/=

	17.
	Water tank and pump head complete
	
	
	
	600,000/=

	18.
	Raising mains 
	
	11 pipes 
	50,000=
	550,000/=

	19.
	Raising rods 
	
	10 rods 
	28,000=
	280,000/=

	20.
	Engraving on pump head
	
	
	
	  150,000/=

	21.
	Labour 
	
	
	
	1,905,000/=

	
	Total 
	18,450,000/=


